DICOM Correction Proposal

| STATUS | Letter Ballot |
| --- | --- |
| Date of Last Update | 2024/05/29 |
| Person Assigned | Bjoern.nolte@siemens-healthineers.com |
| Submitter Name | Antje Schroeder (aschroeder@siemens-healthineers.com) |
| Submission Date | 2023/05/31 |

Correction Number CP-2315

Log Summary: Clarify Single Conformance Statement in PS3.2

Name of Standard PS3.2

Rationale for Correction: Current PS3.2 states in Section 6 of PS3.2 “A single Conformance Statement shall be provided”. A clarification is needed that this this means that the conformance statement doesn’t need to be in a single file and can be distributed across multiple files.

Correction Wording:

Modify Section 6 of PS3.2 as indicated below

The content of Conformance Statement uses a consistent structure regardless of whether the implementation supports a DIMSE interface, a DICOM Media Storage interface, a DICOM Web Service interface, DICOM Real Time Video interface, or a combination thereof. A single Conformance Statement shall be provided with the appropriate sections filled in. Sections not relevant for the implementation shall be kept and marked as not applicable. Subsections of a section marked as not applicable need not be included in the Conformance Statement (see the template in Annex N).

Note

A Conformance Statement is a single document or a main document with possibly a number of annexes with appropriate references.

The first part of the Conformance Statement contains a DICOM Conformance Statement Overview …