DICOM Correction Proposal

| STATUS | Letter Ballot |
| --- | --- |
| Date of Last Update | 2024/06/03 |
| Person Assigned | Silvia Winkler |
| Submitter Name | Silvia Winkler (silvia.winkler@sigmasoft.at) |
| Submission Date | 2024/01/04 |

Correction Number CP-2387

Log Summary: New Context Group for Waveform Modalities

Name of Standard PS3.16

Rationale for Correction: For some purposes (e.g. in the Waveform Library Entry in the Waveform Annotation SR) it could be useful to refer to a Context Group containing just waveform modalities. This CP proposes to move these waveform modalities from CID 29 to a separate Context Group and include this in Context Group 29. Modality code AU is now contained in CID 32. Non-Acquisition Modality, but only with the meaning “Basic Voice Audio”. AU might also be “General Audio” and “Real-time Audio. Table D-1. also defines AU as “Audio”, so the Code Meaning in CID 32 shall be corrected.

Correction Wording:

Change PS3.16 CID 29 to factor out the Waveform modalities to a new CID and include it:

Table CID 29. Acquisition Modality

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| DCM | AR | Autorefraction |
| DCM | BI | Biomagnetic Imaging |
| DCM | BMD | Bone Mineral Densitometry |
| DCM | EPS | Cardiac Electrophysiology |
| DCM | CR | Computed Radiography |
| DCM | CT | Computed Tomography |
| DCM | DMS | Dermoscopy |
| DCM | DG | Diaphanography |
| DCM | DX | Digital Radiography |
| DCM | ECG | Electrocardiography |
| DCM | EEG | Electroencephalography |
| DCM | EMG | Electromyography |
| DCM | EOG | Electrooculography |
| DCM | ES | Endoscopy |
| DCM | XC | External-camera Photography |
| DCM | GM | General Microscopy |
| DCM | HD | Hemodynamic Waveform |
| DCM | IO | Intra-oral Radiography |
| DCM | IVOCT | Intravascular Optical Coherence Tomography |
| DCM | IVUS | Intravascular Ultrasound |
| DCM | KER | Keratometry |
| DCM | LS | Laser Scan |
| DCM | LEN | Lensometry |
| DCM | MR | Magnetic Resonance |
| DCM | MG | Mammography |
| DCM | NM | Nuclear Medicine |
| DCM | OAM | Ophthalmic Axial Measurements |
| DCM | OPM | Ophthalmic Mapping |
| DCM | OP | Ophthalmic Photography |
| DCM | OPT | Ophthalmic Tomography |
| DCM | OPTBSV | Ophthalmic Tomography B-scan Volume Analysis |
| DCM | OPTENF | Ophthalmic Tomography En Face |
| DCM | OPV | Ophthalmic Visual Field |
| DCM | OCT | Optical Coherence Tomography |
| DCM | OSS | Optical Surface Scanner |
| DCM | PX | Panoramic X-Ray |
| DCM | PA | Photoacoustic |
| DCM | POS | Position Sensor |
| DCM | PT | Positron emission tomography |
| DCM | RF | Radiofluoroscopy |
| DCM | RG | Radiographic imaging |
| DCM | RESP | Respiratory Waveform |
| DCM | RTIMAGE | RT Image |
| DCM | SM | Slide Microscopy |
| DCM | SRF | Subjective Refraction |
| DCM | TG | Thermography |
| DCM | US | Ultrasound |
| DCM | BDUS | Ultrasound Bone Densitometry |
| DCM | VA | Visual Acuity |
| DCM | XA | X-Ray Angiography |
| Include CID xxx “Waveform Acquisition Modality” |  |  |

Change PS3.16 CID 32 – correct the Code Meaning for AU

Table CID 32. Non-Acquisition Modality

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| DCM | ASMT | Content Assessment Result |
| DCM | AU | Basic Voice Audio |
| DCM | CTPROTOCOL | CT Protocol |
| DCM | DOC | Document |
| DCM | FID | Spatial Fiducials |
| DCM | HC | Hard Copy |
| DCM | IOL | Intraocular Lens Calculation |
| DCM | KO | Key Object Selection |
| DCM | M3D | Model for 3D Manufacturing |
| DCM | OT | Other |
| DCM | PLAN | Plan |
| DCM | PR | Presentation State |
| DCM | REG | Registration |
| DCM | RTDOSE | RT Dose |
| DCM | RTPLAN | RT Plan |
| DCM | RTRECORD | RT Treatment Record |
| DCM | RTSTRUCT | RT Structure Set |
| DCM | RWV | Real World Value Map |
| DCM | SEG | Segmentation |
| DCM | SMR | Stereometric Relationship |
| DCM | SR | Structured Report Document |
| DCM | STAIN | Automated Slide Stainer |
| DCM | TEXTUREMAP | Texture Map |

Add a new CID to PS3.16 and correct some meanings:

## CID xxx Waveform Acquisition Modality

Resources: 	HTML | FHIR JSON | FHIR XML | IHE SVS XML

Keyword: 	Waveform Acquisition Modality

FHIR Keyword:	dicom-cid-xxx-WaveformAcquisitionModality

Type: 		Extensible

Version: 	yyyymmdd

UID: 		1.2.840.10008.6.1.xxx

Table CID xxx. Waveform Acquisition Modality

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| DCM | ECG | Electrocardiography |
| DCM | EEG | Electroencephalography |
| DCM | EMG | Electromyography |
| DCM | EPS | Cardiac Electrophysiology |
| DCM | EOG | Electrooculography |
| DCM | HD | Hemodynamic Waveform Modality |
| DCM | POS | Position Sensor |
| DCM | RESP | Respiratory Waveform Modality |

Change PS3.16 Table D-1. DICOM Controlled Terminology …

Table D-1. DICOM Controlled Terminology Definitions (…)

| Code Value | Code Meaning | Definition | Notes |
| --- | --- | --- | --- |
| … |  |  |  |
| HD | Hemodynamic Waveform Modality | An acquisition device, process or method that records hemodynamic waveforms. |  |
| … |  |  |  |
| RESP | Respiratory Waveform Modality | A device, process or method that produces waveforms of electrical signals from the patient’s respiratory system. |  |